Draft Minutes

Exeter Technical Review Committee

June 22, 2023

The meeting began at 10:00 AM in the Wheelwright Room of the Exeter Town Office building.

Application

Project Description:

- The application of Ross Engineering LLC for a multi-family site plan review and Shoreland CUP for the proposed development of the property at 14 Hobart Street.  The Applicant is proposing a three-unit condominium conversion and associated site improvements.  The property is located in the R-2, Single Family Residential zoning district and is identified as Tax Map Parcel #74-89.

Attendees:Town staff: Town Planner, Dave Sharples; Building Inspector, Douglas Eastman; Natural Resources Planner, Kristen Murphy and Deputy Fire Chief, Jason Fritz,

Applicant and Representatives: Dave Richards, Applicant; Alex Ross, PE, Ross Engineering

The committee reviewed plans and materials submitted to the Planning Office.  An overview of the project was presented.  Items of discussion included, but were not limited to, the following:  building shown on adjacent property line, distance between units, sprinklers or fire-resistant sheathing, CUP application, condo documents, known environmental hazards, monuments, storm water maintenance checklist, proposed grading, waivers should list criteria, land surveyor stamp, water & sewer lines and impact fees.

All items discussed will be outlined in a TRC comment letter to be provided to the Applicant and their representatives by next week.

The applicant plans to submit plans for review by June 30th in anticipation of being placed on the Agenda for the July 13th Planning Board meeting.

The meeting adjourned at 10:23 am

Respectfully submitted,

Kathleen Croteau

Administrative Assistant